## Sheet1
System full path | Criticality description
Catering ¦ Commercial Sanitary ¦ Sink ¦ Stainless Steel | Medium
Communication and Control ¦ Communication Systems ¦ Public Address (PA) System | Medium
Communication and Control ¦ Emergency Communication Systems ¦ Pull Cord/Alarm Switch | Urgent
Controls ¦ Building Management System (BMS) ¦ BMS Control Panel | High
Controls ¦ Building Management System (BMS) ¦ Central Operating Station | High
Controls ¦ Multi-System Controls ¦ Control Panel - Electrical Services (excluding Electrical Controllers and Pneumatic Relays) | Medium
Controls ¦ Multi-System Controls ¦ Instrument Control Panel | Medium
Controls ¦ Multi-System Controls ¦ Motor Control Centre (MCC) | Low
Controls ¦ Multi-System Controls ¦ Multi-Input Controllers | Medium
Drainage ¦ External Drainage ¦ Surface Water and Foul Drainage ¦ Pump Drainage-Dry Well | High
Drainage ¦ External Drainage ¦ Surface Water and Foul Drainage ¦ Pumps - Sewage: Compressed Air | High
Drainage ¦ Foul Drainage ¦ Sump Pumps-Extended Shaft | High
Electrical ¦ LV Distribution ¦ Distribution Board ¦ Main | High
Electrical ¦ LV Distribution ¦ Distribution Board ¦ Sub | High
Electrical ¦ LV Distribution ¦ Electricity Meters | Medium
Electrical ¦ LV Distribution ¦ Feeder Pillar | Urgent
Electrical ¦ LV Distribution ¦ LV Switch Panel | High
Electrical ¦ LV Distribution ¦ Main Switch Panel at Supply Intake | Medium
Electrical ¦ Lighting ¦ External ¦ General - LED | Medium
Electrical ¦ Lighting ¦ External ¦ General - Non-LED | Medium
Electrical ¦ Lighting ¦ Internal ¦ Emergency ¦ Externally Powered ¦ LED | Urgent
Electrical ¦ Lighting ¦ Internal ¦ Emergency ¦ Externally Powered ¦ Non LED | Urgent
Electrical ¦ Lighting ¦ Internal ¦ Emergency ¦ Self Contained ¦ LED | Urgent
Electrical ¦ Lighting ¦ Internal ¦ Emergency ¦ Self Contained ¦ Non LED | Urgent
Electrical ¦ Lighting ¦ Internal ¦ General | Medium
Electrical ¦ Lighting ¦ Internal ¦ General ¦ LED Fittings & Luminaires | Medium
Electrical ¦ Power Generation ¦ External to Building ¦ Large Solar Systems - Photovoltaic (PV) - Grid Connected | Low
Electrical ¦ Power Generation ¦ External to Building ¦ Photovoltaics (External to the Building) | Medium
Electrical ¦ Power Generation ¦ External to Building ¦ Solar Collectors (External to the Building) | Low
Electrical ¦ Power Generation ¦ Internal ¦ Photovoltaics (Connected to the Building) | Medium
Electrical ¦ Specialist Lighting ¦ External ¦ Illuminated External Signs | Medium
Electrical ¦ Specialist Lighting ¦ Internal ¦ Illuminated Fire Exit Signage | Urgent
FFE ¦ Equipment ¦ Domestic Kitchen ¦ Fridge | Medium
FFE ¦ Equipment ¦ Domestic Kitchen ¦ Microwave | Low
FFE ¦ Equipment ¦ Domestic Kitchen ¦ Sinks - Domestic Kitchen Stainless Steel | Medium
Fabric ¦ Barriers and Guardrails ¦ Fixed Edge Protection | High
Fabric ¦ Barriers and Guardrails ¦ Vehicle Crash Protection Barrier | V Low
Fabric ¦ Roads, Paths and Paving's ¦ Galvanised Steel Access Platforms | High
Fabric ¦ Superstructure ¦ Internal Doors ¦ Fire Doors ¦ Double | Urgent
Fabric ¦ Superstructure ¦ Internal Doors ¦ Fire Doors ¦ Internal Roller Shutter- Fire Rated | Urgent
Fabric ¦ Superstructure ¦ Internal Doors ¦ Fire Doors ¦ Single | Urgent
Fabric ¦ Superstructure ¦ Internal Doors ¦ Roller Shutters ¦ Automatic Fabric Roll Up Door | High
Fabric ¦ Superstructure ¦ Internal Doors ¦ Roller Shutters ¦ Automatic Roller Shutter | High
Fabric ¦ Superstructure ¦ Internal Doors ¦ Roller Shutters ¦ Electric Roller Shutter | Medium
Fabric ¦ Superstructure ¦ Internal Doors ¦ Roller Shutters ¦ Internal Manual Roller Shutter | Medium
Fabric ¦ Superstructure ¦ Internal Doors ¦ Roller Shutters ¦ Internal Manual Roller Shutter ¦ 24 High x 25 Wide | Medium
Fabric ¦ Superstructure ¦ Roof ¦ Roof Features ¦ Fall Arrest Systems ¦ Cable and Track/Rail Based Safety Systems | High
Fabric ¦ Superstructure ¦ Roof ¦ Roof Lights, Skylights and Openings ¦ Smoke vents ¦ Smoke Relief-Natural Ventilators | Urgent
Fabric ¦ Superstructure ¦ Windows and External Doors ¦ External Doors ¦ Entrance Doors | High
Fabric ¦ Superstructure ¦ Windows and External Doors ¦ External Doors ¦ Manual and Automatic Doors ¦ Auto / Powered Bi-Fold Doors | Medium
Fabric ¦ Superstructure ¦ Windows and External Doors ¦ External Doors ¦ Manual and Automatic Doors ¦ Auto / Powered Sliding Doors | High
Fabric ¦ Superstructure ¦ Windows and External Doors ¦ External Doors ¦ Manual and Automatic Doors ¦ Auto / Powered Swing Doors | High
Fabric ¦ Superstructure ¦ Windows and External Doors ¦ External Doors ¦ Manual and Automatic Doors ¦ Emergency and Panic Escape Doors | Urgent
Fabric ¦ Superstructure ¦ Windows and External Doors ¦ External Doors ¦ Manual and Automatic Doors ¦ High Security Door | High
Fabric ¦ Superstructure ¦ Windows and External Doors ¦ External Doors ¦ Manual and Automatic Doors ¦ Powered Bi-Fold Doors | Medium
Fabric ¦ Superstructure ¦ Windows and External Doors ¦ External Doors ¦ Manual and Automatic Doors ¦ Powered Sliding Doors (Push Pad) | High
Fabric ¦ Superstructure ¦ Windows and External Doors ¦ External Doors ¦ Manual and Automatic Doors ¦ Powered Swing Doors (Push Pad) | High
Fabric ¦ Superstructure ¦ Windows and External Doors ¦ External Windows ¦ Roller Shutters ¦ External Window Shutters ¦ Electric | Medium
Fabric ¦ Superstructure ¦ Windows and External Doors ¦ External Windows ¦ Roller Shutters ¦ External Window Shutters ¦ Manual | Medium
Fabric ¦ Superstructure ¦ Windows and External Doors ¦ Roller Shutters ¦ Automatic Fabric Roll Up Door | Medium
Fabric ¦ Superstructure ¦ Windows and External Doors ¦ Roller Shutters ¦ Automatic Roller Shutter | High
Fabric ¦ Superstructure ¦ Windows and External Doors ¦ Roller Shutters ¦ Electric Roller Shutter | High
Fabric ¦ Superstructure ¦ Windows and External Doors ¦ Roller Shutters ¦ Manual Roller Shutter | High
Fabric ¦ Superstructure ¦ Windows and External Doors ¦ Roller Shutters ¦ Manual Roller Shutter ¦ 24 High x 25 Wide | Urgent
Fire ¦ Fire Detection ¦ Fire Alarm - Voice Alarm Systems | Urgent
Fire ¦ Fire Detection ¦ Fire Alarm Panel / Repeater | Urgent
Fire ¦ Fire Detection ¦ Fire Alarm Panel / Repeater (Vesda) | Urgent
Fire ¦ Fire Detection ¦ Fire Alarm System | Urgent
Fire ¦ Fire Detection ¦ Fire Beacon/ Strobe | Urgent
Fire ¦ Fire Detection ¦ Fire Call Point / Break Glass BGU | Urgent
Fire ¦ Fire Detection ¦ Fire Heat Detector | Urgent
Fire ¦ Fire Detection ¦ Fire Smoke Detector ¦ Ceiling/Wall Mounted | Urgent
Fire ¦ Fire Detection ¦ Fire Sounder | Urgent
Fire ¦ Fire Fighting ¦ Fire Blanket | Urgent
Fire ¦ Fire Fighting ¦ Fire Extinguishers ¦ CO2 | Urgent
Fire ¦ Fire Fighting ¦ Fire Extinguishers ¦ Dry Chemical | Urgent
Fire ¦ Fire Fighting ¦ Fire Extinguishers ¦ Foam | Urgent
Fire ¦ Fire Fighting ¦ Fire Extinguishers ¦ Foam - P50 | Urgent
Fire ¦ Fire Fighting ¦ Fire Extinguishers ¦ Inert Gas | Urgent
Fire ¦ Fire Fighting ¦ Fire Extinguishers ¦ Powder | Urgent
Fire ¦ Fire Fighting ¦ Fire Extinguishers ¦ Powder - P50 | Urgent
Fire ¦ Fire Fighting ¦ Fire Extinguishers ¦ Water | Urgent
Fire ¦ Fire Fighting ¦ Fire Extinguishers ¦ Water Mist - P50 | Urgent
Fire ¦ Fire Fighting ¦ Fire Extinguishers ¦ Water Pressure | Urgent
Fire ¦ Fire Fighting ¦ Fire Extinguishers ¦ Wet Chemical | Urgent
Fire ¦ Fire suppression systems ¦ Sprinkler System ¦ Break Tank ¦ Plastic or non metallic | Urgent
Fire ¦ Fire suppression systems ¦ Sprinkler System ¦ Control Panel | Medium
Fuel ¦ Distribution Systems ¦ External Storage ¦ Pumps ¦ Fuel Transfer Pump - Diesel | Medium
Fuel ¦ Distribution Systems ¦ Internal Storage ¦ Gas Meters | Medium
Fuel ¦ Distribution Systems ¦ Internal Storage ¦ Pumps ¦ Fuel Transfer Pump - Diesel | Medium
Fuel ¦ Distribution Systems ¦ Internal Storage ¦ Pumps ¦ Fuel Transfer Pump - Oil | Medium
HVAC ¦ Central Air Conditioning ¦ Air Conditioning ¦ Multi-Split Condenser - DX Split Systems (With Gas, Electric or Hot Water Heaters) | Medium
HVAC ¦ Central Air Conditioning ¦ Air Conditioning ¦ Multi-Split Condenser - Split Systems/Heat Pumps - Air-cooled with Direct Expansion Evaporator (DX) | Medium
HVAC ¦ Central Air Conditioning ¦ Air Conditioning ¦ Multi-Split Evaporator - DX Split Systems (With Gas, Electric or Hot Water Heaters) | High
HVAC ¦ Central Air Conditioning ¦ Air Conditioning ¦ Multi-Split Evaporator - Split Systems/Heat Pumps - Air-cooled with Direct Expansion Evaporator (DX) | Medium
HVAC ¦ Central Cooling ¦ Pressurisation Unit | V Low
HVAC ¦ Central Heating (Internally Sourced) ¦ Boiler ¦ Atmospheric Gas Burner - Condensing Boiler | High
HVAC ¦ Central Heating (Internally Sourced) ¦ Boiler ¦ Atmospheric Gas Burner - Free Standing Boiler | Medium
HVAC ¦ Central Heating (Internally Sourced) ¦ Boiler ¦ Atmospheric Gas Burner Boiler - Small and/or Wall Hung for Domestic Installation | Medium
HVAC ¦ Central Heating (Internally Sourced) ¦ Boiler ¦ Atmospheric Gas Burner Boiler - Small and/or Wall Hung for Light Commercial Installation | Medium
HVAC ¦ Central Heating (Internally Sourced) ¦ Boiler ¦ Atmospheric Gas Burner/Condensing Combination Boiler | Medium
HVAC ¦ Central Heating (Internally Sourced) ¦ Boiler ¦ Atmospheric Gas Burner/Condensing Combination Boiler (domestic type) | High
HVAC ¦ Central Heating (Internally Sourced) ¦ Boiler ¦ Blown Gas Burner Condensing Boiler | Low
HVAC ¦ Central Heating (Internally Sourced) ¦ Boiler ¦ Blown Gas Burner Modular Boiler | Low
HVAC ¦ Central Heating (Internally Sourced) ¦ Boiler ¦ Boiler MTHW Commercial | V Low
HVAC ¦ Central Heating (Internally Sourced) ¦ Boiler ¦ Boiler Superheaters Commercial | Medium
HVAC ¦ Central Heating (Internally Sourced) ¦ Boiler ¦ Boilers LTHW Commercial | Medium
HVAC ¦ Central Heating (Internally Sourced) ¦ Boiler ¦ Burner Forced Draught [Pressure Jet] Oil | Medium
HVAC ¦ Central Heating (Internally Sourced) ¦ Boiler ¦ Combination Atmospheric Burner Gas Boiler | High
HVAC ¦ Central Heating (Internally Sourced) ¦ Boiler ¦ Electric Boilers | Medium
HVAC ¦ Central Heating (Internally Sourced) ¦ Boiler ¦ Electrode Boilers | Medium
HVAC ¦ Central Heating (Internally Sourced) ¦ Burner ¦ Atmospheric Gas Burner | Medium
HVAC ¦ Central Heating (Internally Sourced) ¦ Burner ¦ Blown gas burner | Medium
HVAC ¦ Central Heating (Internally Sourced) ¦ Burner ¦ Forced Draught Gas Condensing Boiler | Medium
HVAC ¦ Central Heating (Internally Sourced) ¦ Burner ¦ Forced draft gas burner | Medium
HVAC ¦ Central Heating (Internally Sourced) ¦ Burner ¦ Gas/Oil Burner-Dual fuel | Medium
HVAC ¦ Central Heating (Internally Sourced) ¦ Burner ¦ Light oil vaporising pot burner | Urgent
HVAC ¦ Central Heating (Internally Sourced) ¦ Heat Exchangers ¦ Heat Reclaim Unit (Lossnay Type) | Medium
HVAC ¦ Central Heating (Internally Sourced) ¦ Heat Pumps ¦ Water to Water | Medium
HVAC ¦ Central Heating (Internally Sourced) ¦ Pressurisation Unit ¦ Gas/Oil Fired Heating System | Low
HVAC ¦ Ductwork ¦ Ductwork, Fittings and Ancillaries ¦ Central Ventilation Systems ¦ Fire Dampers ¦ Automatic | Urgent
HVAC ¦ Ductwork ¦ Ductwork, Fittings and Ancillaries ¦ Central Ventilation Systems ¦ Fire Dampers ¦ Fusible Link | Urgent
HVAC ¦ Ductwork ¦ Ductwork, Fittings and Ancillaries ¦ Central Ventilation Systems ¦ Fire Dampers ¦ Manual | Urgent
HVAC ¦ Fan ¦ Central Air Conditioning ¦ Axial | High
HVAC ¦ Fan ¦ Central Air Conditioning ¦ Centrifugal | Medium
HVAC ¦ Fan ¦ Central Air Conditioning ¦ Extract | Medium
HVAC ¦ Fan ¦ Central Air Conditioning ¦ Ventilating - General | Medium
HVAC ¦ Fan ¦ Central Cooling ¦ Axial | Medium
HVAC ¦ Fan ¦ Central Cooling ¦ Centrifugal | High
HVAC ¦ Fan ¦ Central Cooling ¦ Ventilating - General | Medium
HVAC ¦ Fan ¦ Central Heating & Cooling ¦ Axial | Medium
HVAC ¦ Fan ¦ Central Heating & Cooling ¦ Bifurcated | Medium
HVAC ¦ Fan ¦ Central Heating & Cooling ¦ Mixed Flow | Medium
HVAC ¦ Fan ¦ Central Heating & Cooling ¦ Ventilating - General | Medium
HVAC ¦ Fan ¦ Central Heating ¦ Axial | High
HVAC ¦ Fan ¦ Central Heating ¦ Extract | High
HVAC ¦ Fan ¦ Central Heating ¦ Mixed Flow | High
HVAC ¦ Fan ¦ Central Heating ¦ Ventilating - General | Medium
HVAC ¦ Fan ¦ Central Ventilation Systems ¦ Axial | Medium
HVAC ¦ Fan ¦ Central Ventilation Systems ¦ Bifurcated | Medium
HVAC ¦ Fan ¦ Central Ventilation Systems ¦ Centrifugal | Medium
HVAC ¦ Fan ¦ Central Ventilation Systems ¦ Extract | Medium
HVAC ¦ Fan ¦ Central Ventilation Systems ¦ Mixed Flow | Medium
HVAC ¦ Fan ¦ Central Ventilation Systems ¦ Ventilating - General | Low
HVAC ¦ Fan ¦ Local and Special Ventilation ¦ Axial | Medium
HVAC ¦ Fan ¦ Local and Special Ventilation ¦ Bifurcated | Medium
HVAC ¦ Fan ¦ Local and Special Ventilation ¦ Centrifugal | Medium
HVAC ¦ Fan ¦ Local and Special Ventilation ¦ Extract | Medium
HVAC ¦ Fan ¦ Local and Special Ventilation ¦ Extract Fans - Twin Toilet | Medium
HVAC ¦ Fan ¦ Local and Special Ventilation ¦ Fans Window or Wall Mounted | Medium
HVAC ¦ Fan ¦ Local and Special Ventilation ¦ Hazardous Area Extract Fan | Medium
HVAC ¦ Fan ¦ Local and Special Ventilation ¦ Kitchen Vent ¦ Axial | High
HVAC ¦ Fan ¦ Local and Special Ventilation ¦ Kitchen Vent ¦ Extract | Low
HVAC ¦ Fan ¦ Local and Special Ventilation ¦ Kitchen Vent ¦ Fans Window or Wall Mounted | Medium
HVAC ¦ Fan ¦ Local and Special Ventilation ¦ Kitchen Vent ¦ Mixed Flow | Medium
HVAC ¦ Fan ¦ Local and Special Ventilation ¦ Kitchen Vent ¦ Ventilating - General | Medium
HVAC ¦ Fan ¦ Local and Special Ventilation ¦ Mixed Flow | Medium
HVAC ¦ Fan ¦ Local and Special Ventilation ¦ Ventilating - General | Medium
HVAC ¦ Fan ¦ Smoke Extract | Urgent
HVAC ¦ Fan ¦ Smoke Extract ¦ Powered Pressurisation Fan Systems | High
HVAC ¦ Heat Emitters - Central ¦ LTHW Overdoor Air Curtain/Heater | High
HVAC ¦ Heat Emitters - Central ¦ Radiators ¦ Aluminium | Medium
HVAC ¦ Heat Emitters - Central ¦ Radiators ¦ Steel | Medium
HVAC ¦ Heat Emitters - Central ¦ Unit Heaters | Medium
HVAC ¦ Heat Emitters - Local ¦ Electric Heaters | Medium
HVAC ¦ Heat Emitters - Local ¦ Electric Overdoor Air Curtain/Heater | Medium
HVAC ¦ Heat Emitters - Local ¦ Fan Convector - Electric | Medium
HVAC ¦ Heat Emitters - Local ¦ Gas Fired Ceramic Plaque Infra-Red Heaters | Medium
HVAC ¦ Heat Emitters - Local ¦ Gas Fired Natural and Fan Assisted Heaters | Medium
HVAC ¦ Heat Emitters - Local ¦ Gas Fired Radiant Heaters | Medium
HVAC ¦ Heat Emitters - Local ¦ Gas Fired Unit Heaters | Medium
HVAC ¦ Heat Emitters - Local ¦ Gas Radiant Tube Heaters | Medium
HVAC ¦ Heat Emitters - Local ¦ Oil Fired Natural and Fan Assisted Heaters | Low
HVAC ¦ Heat Emitters - Local ¦ Oil Fired Unit Heaters | Medium
HVAC ¦ Local Air Conditioning ¦ Single-Split Condenser - Split Systems/Heat Pumps - Air-cooled with Direct Expansion Evaporator (DX) | Medium
HVAC ¦ Local Air Conditioning ¦ Single-Split Evaporator - Split Systems/Heat Pumps - Air-cooled with Direct Expansion Evaporator (DX) | Medium
HVAC ¦ Local and Special Ventilation ¦ Unit extract fans. | Medium
HVAC ¦ Pump ¦ Central Heating (Internally Sourced) ¦ Circulating | High
HVAC ¦ Pump ¦ Central Heating (Internally Sourced) ¦ Condensate Pumps | Medium
HVAC ¦ Pump ¦ Central Heating (Internally Sourced) ¦ General | V Low
HVAC ¦ Smoke Extract ¦ Control Panel - smoke ventilation systems. | Urgent
HVAC ¦ Ventilation ¦ Air Handling Unit (AHU) ¦ External ¦ Central Air Conditioning ¦ DX Cooling | High
HVAC ¦ Ventilation ¦ Air Handling Unit (AHU) ¦ External ¦ Central Air Conditioning ¦ Electric & DX | Medium
HVAC ¦ Ventilation ¦ Air Handling Unit (AHU) ¦ External ¦ Central Air Conditioning ¦ Gas Fired | Medium
HVAC ¦ Ventilation ¦ Air Handling Unit (AHU) ¦ External ¦ Central Cooling ¦ CHW Cooling | Medium
HVAC ¦ Ventilation ¦ Air Handling Unit (AHU) ¦ External ¦ Central Heating & Cooling ¦ Electric & DX | Medium
HVAC ¦ Ventilation ¦ Air Handling Unit (AHU) ¦ External ¦ Central Heating (Externally Sourced) ¦ Gas Fired | Medium
HVAC ¦ Ventilation ¦ Air Handling Unit (AHU) ¦ Internal ¦ Central Air Conditioning ¦ DX Cooling | High
HVAC ¦ Ventilation ¦ Air Handling Unit (AHU) ¦ Internal ¦ Central Air Conditioning ¦ Electric & DX | High
HVAC ¦ Ventilation ¦ Air Handling Unit (AHU) ¦ Internal ¦ Central Air Conditioning ¦ Electric Heating | High
HVAC ¦ Ventilation ¦ Air Handling Unit (AHU) ¦ Internal ¦ Central Air Conditioning ¦ Gas Fired | Medium
HVAC ¦ Ventilation ¦ Air Handling Unit (AHU) ¦ Internal ¦ Central Cooling ¦ CHW Cooling | Medium
HVAC ¦ Ventilation ¦ Air Handling Unit (AHU) ¦ Internal ¦ Central Heating & Cooling ¦ Electric & CHW | Medium
HVAC ¦ Ventilation ¦ Air Handling Unit (AHU) ¦ Internal ¦ Central Heating & Cooling ¦ Electric & DX | Medium
HVAC ¦ Ventilation ¦ Air Handling Unit (AHU) ¦ Internal ¦ Central Heating & Cooling ¦ LTHW & CHW | High
HVAC ¦ Ventilation ¦ Air Handling Unit (AHU) ¦ Internal ¦ Central Heating & Cooling ¦ LTHW & DX | High
HVAC ¦ Ventilation ¦ Air Handling Unit (AHU) ¦ Internal ¦ Central Heating (Externally Sourced) ¦ Gas Fired | Medium
HVAC ¦ Ventilation ¦ Air Handling Unit (AHU) ¦ Internal ¦ Central Heating (Internally Sourced) ¦ Electric Heating | Medium
HVAC ¦ Ventilation ¦ Air Handling Unit (AHU) ¦ Internal ¦ Central Heating (Internally Sourced) ¦ Gas Fired | Medium
HVAC ¦ Ventilation ¦ Air Handling Unit (AHU) ¦ Internal ¦ Central Ventilation Systems ¦ Ventilation Only | Medium
Lightning Protection ¦ System | High
Roof ¦ Roof ¦ Roof | V Low
Roof ¦ Roof ¦ Roof | Medium
Roof ¦ Roof ¦ Roof | Urgent
Roof ¦ Roof ¦ Roof | Low
Sanitary ¦ Cleaners Sinks ¦ Vitreous china/fireclay/uPVC | Low
Sanitary ¦ Hand Dryers ¦ Standard | Medium
Sanitary ¦ Shower ¦ Pumps ¦ Showers Booster Pumps | Medium
Sanitary ¦ Sinks / basins ¦ Vitreous china/fireclay/uPVC | Medium
Sanitary ¦ WC Toilet Disabled / All Types ¦ Vitreous china/fireclay/uPVC | Medium
Sanitary ¦ WC Toilet Standard / All Types ¦ Vitreous china/fireclay/uPVC | Medium
Security ¦ Access ¦ Access Control ¦ Coded Entry (Internal) | Medium
Security ¦ Access ¦ Access Control ¦ Door ¦ Local Lock / Keypad / Manual | Medium
Security ¦ Access ¦ Access Control ¦ Gate Access - Local Lock / Keypad / Manual (External) | Medium
Security ¦ Barriers and Guardrails ¦ Automatic Vehicle Raising Bollard | High
Security ¦ Barriers and Guardrails ¦ Manual Vehicle Barrier | Medium
Security ¦ Barriers and Guardrails ¦ Security Controlled Barrier | High
Security ¦ Security Systems ¦ CCTV ¦ Digital Recorder | High
Security ¦ Security Systems ¦ CCTV ¦ External ¦ Camera ¦ Fixed Dome | High
Security ¦ Security Systems ¦ CCTV ¦ Internal ¦ Camera ¦ Bullet | High
Security ¦ Security Systems ¦ CCTV ¦ Internal ¦ Camera ¦ Fixed Dome | Urgent
Security ¦ Security Systems ¦ CCTV ¦ Internal ¦ Camera ¦ PTZ Dome | High
Security ¦ Security Systems ¦ CCTV ¦ Monitors | High
Security ¦ Security Systems ¦ Intruder Systems ¦ Intruder Alarms | Urgent
Security ¦ Security Systems ¦ Personal Protection ¦ Personal Attack Alarm System | Urgent
Special Installations ¦ Specialist Piped Systems ¦ Air Compressors ¦ Air Compressors | Medium
Transport ¦ Dock and scissor lifts ¦ Dock Levellers | Medium
Transport ¦ Lifts ¦ Disabled Lift ¦ Electric | High
Transport ¦ Lifts ¦ Disabled Lift ¦ Hydraulic | High
Transport ¦ Lifts ¦ Document Lift - Complete Installation ¦ Electric | High
Transport ¦ Lifts ¦ Document Lift - Complete Installation ¦ Traction | Medium
Transport ¦ Lifts ¦ Document Lift ¦ Electric | Medium
Transport ¦ Lifts ¦ Goods Lift electric ¦ Electric | Medium
Transport ¦ Lifts ¦ Passenger Lift Hydraulic ¦ Hydraulic | Medium
Transport ¦ Lifts ¦ Passenger Lift Traction ¦ Traction | Medium
Transport ¦ Lifts ¦ Passenger Lift electric ¦ Electric | Medium
Transport ¦ Lifts ¦ Scissor Lift | Medium
Transport ¦ Lifts ¦ Wheel Chair Lift | High
Water ¦ Central Cold Water Distribution ¦ Pressurisation Unit | Medium
Water ¦ Central Hot Water Distribution ¦ Calorifier-LTHW ¦ Copper | High
Water ¦ Central Hot Water Distribution ¦ Calorifier-LTHW ¦ Steel, Galvanised | High
Water ¦ Central Hot Water Distribution ¦ Direct fired Water Heaters | Low
Water ¦ Central Hot Water Distribution ¦ Expansion Vessels ¦ Closed (with membrane) | High
Water ¦ Central Hot Water Distribution ¦ Hot water cylinders | High
Water ¦ Central Hot Water Distribution ¦ Hot water cylinders Domestic Type | Low
Water ¦ Central Hot Water Distribution ¦ Pressurisation Unit | Medium
Water ¦ Central Hot Water Distribution ¦ Pumps ¦ Centrifugal | Medium
Water ¦ Central Hot Water Distribution ¦ Pumps ¦ Domestic Water Accelerators | High
Water ¦ Central Hot Water Distribution ¦ Pumps ¦ Secondary Hot Water Circulating | Medium
Water ¦ Cold Water Distribution ¦ Water Pumping Pressure Boosting Set | Medium
Water ¦ Hot Water Distribution ¦ Tank ¦ Break Tank and Pump (Fluid Category 5 Backflow Protection) | Urgent
Water ¦ Local Hot Water ¦ Electric Water Heater - Drinking Water ¦ Instantaneous Potable Combination Hot, Chilled and Carbonated Water Tap (Fluorinated Gas) | Low
Water ¦ Local Hot Water ¦ Electric Water Heater - Drinking Water ¦ Instantaneous Potable Combination Hot, Chilled and Carbonated Water Tap (Non-Fluorinated Gas) | Low
Water ¦ Local Hot Water ¦ Electric Water Heater - Drinking Water ¦ Non-Pressurised | Medium
Water ¦ Local Hot Water ¦ Electric Water Heater - Drinking Water ¦ Pressurised | Medium
Water ¦ Local Hot Water ¦ Instantaneous Electric Water Heater - Non-Drinking Water | Medium
Water ¦ Local Hot Water ¦ Package Electric Water Heaters - Non-Drinking Water | Medium
Water ¦ Mains Water Supply ¦ Water Meters - Utility | Low