## Summary
System Full Path | Criticality
Catering ¦ Commercial Sanitary ¦ Sink ¦ Stainless Steel | Medium
Communication and Control ¦ Communication Systems ¦ Public Address (PA) System | Medium
Communication and Control ¦ Emergency Communication Systems ¦ Pull Cord/Alarm Switch | Urgent
Controls ¦ Building Management System (BMS) ¦ BMS Control Panel | High
Controls ¦ Building Management System (BMS) ¦ Central Operating Station | High
Controls ¦ Multi-System Controls ¦ Control Panel - Electrical Services (excluding Electrical Controllers and Pneumatic Relays) | Medium
Controls ¦ Multi-System Controls ¦ Instrument Control Panel | Medium
Controls ¦ Multi-System Controls ¦ Motor Control Centre (MCC) | Low
Controls ¦ Multi-System Controls ¦ Multi-Input Controllers | Medium
Drainage ¦ External Drainage ¦ Surface Water and Foul Drainage ¦ Pump Drainage-Dry Well | High
Drainage ¦ External Drainage ¦ Surface Water and Foul Drainage ¦ Pumps - Sewage: Compressed Air | High
Drainage ¦ Foul Drainage ¦ Sump Pumps-Extended Shaft | High
Electrical ¦ Lighting ¦ External ¦ General - LED | Medium
Electrical ¦ Lighting ¦ External ¦ General - Non-LED | Medium
Electrical ¦ Lighting ¦ Internal ¦ Emergency ¦ Externally Powered ¦ LED | Urgent
Electrical ¦ Lighting ¦ Internal ¦ Emergency ¦ Externally Powered ¦ Non LED | Urgent
Electrical ¦ Lighting ¦ Internal ¦ Emergency ¦ Self Contained ¦ LED | Urgent
Electrical ¦ Lighting ¦ Internal ¦ Emergency ¦ Self Contained ¦ Non LED | Urgent
Electrical ¦ Lighting ¦ Internal ¦ General | Medium
Electrical ¦ Lighting ¦ Internal ¦ General ¦ LED Fittings & Luminaires | Medium
Electrical ¦ LV Distribution ¦ Distribution Board ¦ Main | High
Electrical ¦ LV Distribution ¦ Distribution Board ¦ Sub | High
Electrical ¦ LV Distribution ¦ Electricity Meters | Medium
Electrical ¦ LV Distribution ¦ Feeder Pillar | Urgent
Electrical ¦ LV Distribution ¦ LV Switch Panel | High
Electrical ¦ LV Distribution ¦ Main Switch Panel at Supply Intake | Medium
Electrical ¦ Power Generation ¦ External to Building ¦ Large Solar Systems - Photovoltaic (PV) - Grid Connected | Low
Electrical ¦ Power Generation ¦ External to Building ¦ Photovoltaics (External to the Building) | Medium
Electrical ¦ Power Generation ¦ External to Building ¦ Solar Collectors (External to the Building) | Low
Electrical ¦ Power Generation ¦ Internal ¦ Photovoltaics (Connected to the Building) | Medium
Electrical ¦ Specialist Lighting ¦ External ¦ Illuminated External Signs | Medium
Electrical ¦ Specialist Lighting ¦ Internal ¦ Illuminated Fire Exit Signage | Urgent
Fabric ¦ Barriers and Guardrails ¦ Fixed Edge Protection | High
Fabric ¦ Barriers and Guardrails ¦ Vehicle Crash Protection Barrier | V Low
Fabric ¦ Roads, Paths and Paving's ¦ Galvanised Steel Access Platforms | High
Fabric ¦ Superstructure ¦ Internal Doors ¦ Fire Doors ¦ Double | Urgent
Fabric ¦ Superstructure ¦ Internal Doors ¦ Fire Doors ¦ Internal Roller Shutter- Fire Rated | Urgent
Fabric ¦ Superstructure ¦ Internal Doors ¦ Fire Doors ¦ Single | Urgent
Fabric ¦ Superstructure ¦ Internal Doors ¦ Roller Shutters ¦ Automatic Fabric Roll Up Door | High
Fabric ¦ Superstructure ¦ Internal Doors ¦ Roller Shutters ¦ Automatic Roller Shutter | High
Fabric ¦ Superstructure ¦ Internal Doors ¦ Roller Shutters ¦ Electric Roller Shutter | Medium
Fabric ¦ Superstructure ¦ Internal Doors ¦ Roller Shutters ¦ Internal Manual Roller Shutter | Medium
Fabric ¦ Superstructure ¦ Internal Doors ¦ Roller Shutters ¦ Internal Manual Roller Shutter ¦ 24 High x 25 Wide | Medium
Fabric ¦ Superstructure ¦ Roof ¦ Roof Features ¦ Fall Arrest Systems ¦ Cable and Track/Rail Based Safety Systems | High
Fabric ¦ Superstructure ¦ Roof ¦ Roof Lights, Skylights and Openings ¦ Smoke vents ¦ Smoke Relief-Natural Ventilators | Urgent
Fabric ¦ Superstructure ¦ Windows and External Doors ¦ External Doors ¦ Entrance Doors | High
Fabric ¦ Superstructure ¦ Windows and External Doors ¦ External Doors ¦ Manual and Automatic Doors ¦ Auto / Powered Bi-Fold Doors | Medium
Fabric ¦ Superstructure ¦ Windows and External Doors ¦ External Doors ¦ Manual and Automatic Doors ¦ Auto / Powered Sliding Doors | High
Fabric ¦ Superstructure ¦ Windows and External Doors ¦ External Doors ¦ Manual and Automatic Doors ¦ Auto / Powered Swing Doors | High
Fabric ¦ Superstructure ¦ Windows and External Doors ¦ External Doors ¦ Manual and Automatic Doors ¦ Emergency and Panic Escape Doors | Urgent
Fabric ¦ Superstructure ¦ Windows and External Doors ¦ External Doors ¦ Manual and Automatic Doors ¦ High Security Door | High
Fabric ¦ Superstructure ¦ Windows and External Doors ¦ External Doors ¦ Manual and Automatic Doors ¦ Powered Bi-Fold Doors | Medium
Fabric ¦ Superstructure ¦ Windows and External Doors ¦ External Doors ¦ Manual and Automatic Doors ¦ Powered Sliding Doors (Push Pad) | High
Fabric ¦ Superstructure ¦ Windows and External Doors ¦ External Doors ¦ Manual and Automatic Doors ¦ Powered Swing Doors (Push Pad) | High
Fabric ¦ Superstructure ¦ Windows and External Doors ¦ External Windows ¦ Roller Shutters ¦ External Window Shutters ¦ Electric | Medium
Fabric ¦ Superstructure ¦ Windows and External Doors ¦ External Windows ¦ Roller Shutters ¦ External Window Shutters ¦ Manual | Medium
Fabric ¦ Superstructure ¦ Windows and External Doors ¦ Roller Shutters ¦ Automatic Fabric Roll Up Door | Medium
Fabric ¦ Superstructure ¦ Windows and External Doors ¦ Roller Shutters ¦ Automatic Roller Shutter | High
Fabric ¦ Superstructure ¦ Windows and External Doors ¦ Roller Shutters ¦ Electric Roller Shutter | High
Fabric ¦ Superstructure ¦ Windows and External Doors ¦ Roller Shutters ¦ Manual Roller Shutter | High
Fabric ¦ Superstructure ¦ Windows and External Doors ¦ Roller Shutters ¦ Manual Roller Shutter ¦ 24 High x 25 Wide | Urgent
FFE ¦ Equipment ¦ Domestic Kitchen ¦ Fridge | Medium
FFE ¦ Equipment ¦ Domestic Kitchen ¦ Microwave | Low
FFE ¦ Equipment ¦ Domestic Kitchen ¦ Sinks - Domestic Kitchen Stainless Steel | Medium
Fire ¦ Fire Detection ¦ Fire Alarm - Voice Alarm Systems | Urgent
Fire ¦ Fire Detection ¦ Fire Alarm Panel / Repeater | Urgent
Fire ¦ Fire Detection ¦ Fire Alarm Panel / Repeater (Vesda) | Urgent
Fire ¦ Fire Detection ¦ Fire Alarm System | Urgent
Fire ¦ Fire Detection ¦ Fire Beacon/ Strobe | Urgent
Fire ¦ Fire Detection ¦ Fire Call Point / Break Glass BGU | Urgent
Fire ¦ Fire Detection ¦ Fire Heat Detector | Urgent
Fire ¦ Fire Detection ¦ Fire Smoke Detector ¦ Ceiling/Wall Mounted | Urgent
Fire ¦ Fire Detection ¦ Fire Sounder | Urgent
Fire ¦ Fire Fighting ¦ Fire Blanket | Urgent
Fire ¦ Fire Fighting ¦ Fire Extinguishers ¦ CO2 | Urgent
Fire ¦ Fire Fighting ¦ Fire Extinguishers ¦ Dry Chemical | Urgent
Fire ¦ Fire Fighting ¦ Fire Extinguishers ¦ Foam | Urgent
Fire ¦ Fire Fighting ¦ Fire Extinguishers ¦ Foam - P50 | Urgent
Fire ¦ Fire Fighting ¦ Fire Extinguishers ¦ Inert Gas | Urgent
Fire ¦ Fire Fighting ¦ Fire Extinguishers ¦ Powder | Urgent
Fire ¦ Fire Fighting ¦ Fire Extinguishers ¦ Powder - P50 | Urgent
Fire ¦ Fire Fighting ¦ Fire Extinguishers ¦ Water | Urgent
Fire ¦ Fire Fighting ¦ Fire Extinguishers ¦ Water Mist - P50 | Urgent
Fire ¦ Fire Fighting ¦ Fire Extinguishers ¦ Water Pressure | Urgent
Fire ¦ Fire Fighting ¦ Fire Extinguishers ¦ Wet Chemical | Urgent
Fire ¦ Fire suppression systems ¦ Sprinkler System ¦ Break Tank ¦ Plastic or non metallic | Urgent
Fire ¦ Fire suppression systems ¦ Sprinkler System ¦ Control Panel | Medium
Fuel ¦ Distribution Systems ¦ External Storage ¦ Pumps ¦ Fuel Transfer Pump - Diesel | Medium
Fuel ¦ Distribution Systems ¦ Internal Storage ¦ Gas Meters | Medium
Fuel ¦ Distribution Systems ¦ Internal Storage ¦ Pumps ¦ Fuel Transfer Pump - Diesel | Medium
Fuel ¦ Distribution Systems ¦ Internal Storage ¦ Pumps ¦ Fuel Transfer Pump - Oil | Medium
HVAC ¦ Central Air Conditioning ¦ Air Conditioning ¦ Multi-Split Condenser - DX Split Systems (With Gas, Electric or Hot Water Heaters) | Medium
HVAC ¦ Central Air Conditioning ¦ Air Conditioning ¦ Multi-Split Condenser - Split Systems/Heat Pumps - Air-cooled with Direct Expansion Evaporator (DX) | Medium
HVAC ¦ Central Air Conditioning ¦ Air Conditioning ¦ Multi-Split Evaporator - DX Split Systems (With Gas, Electric or Hot Water Heaters) | High
HVAC ¦ Central Air Conditioning ¦ Air Conditioning ¦ Multi-Split Evaporator - Split Systems/Heat Pumps - Air-cooled with Direct Expansion Evaporator (DX) | Medium
HVAC ¦ Central Cooling ¦ Pressurisation Unit | V Low
HVAC ¦ Central Heating (Internally Sourced) ¦ Boiler ¦ Atmospheric Gas Burner - Condensing Boiler | High
HVAC ¦ Central Heating (Internally Sourced) ¦ Boiler ¦ Atmospheric Gas Burner - Free Standing Boiler | Medium
HVAC ¦ Central Heating (Internally Sourced) ¦ Boiler ¦ Atmospheric Gas Burner Boiler - Small and/or Wall Hung for Domestic Installation | Medium
HVAC ¦ Central Heating (Internally Sourced) ¦ Boiler ¦ Atmospheric Gas Burner Boiler - Small and/or Wall Hung for Light Commercial Installation | Medium
HVAC ¦ Central Heating (Internally Sourced) ¦ Boiler ¦ Atmospheric Gas Burner/Condensing Combination Boiler | Medium
HVAC ¦ Central Heating (Internally Sourced) ¦ Boiler ¦ Atmospheric Gas Burner/Condensing Combination Boiler (domestic type) | High
HVAC ¦ Central Heating (Internally Sourced) ¦ Boiler ¦ Blown Gas Burner Condensing Boiler | Low
HVAC ¦ Central Heating (Internally Sourced) ¦ Boiler ¦ Blown Gas Burner Modular Boiler | Low
HVAC ¦ Central Heating (Internally Sourced) ¦ Boiler ¦ Boiler MTHW Commercial | V Low
HVAC ¦ Central Heating (Internally Sourced) ¦ Boiler ¦ Boiler Superheaters Commercial | Medium
HVAC ¦ Central Heating (Internally Sourced) ¦ Boiler ¦ Boilers LTHW Commercial | Medium
HVAC ¦ Central Heating (Internally Sourced) ¦ Boiler ¦ Burner Forced Draught [Pressure Jet] Oil | Medium
HVAC ¦ Central Heating (Internally Sourced) ¦ Boiler ¦ Combination Atmospheric Burner Gas Boiler | High
HVAC ¦ Central Heating (Internally Sourced) ¦ Boiler ¦ Electric Boilers | Medium
HVAC ¦ Central Heating (Internally Sourced) ¦ Boiler ¦ Electrode Boilers | Medium
HVAC ¦ Central Heating (Internally Sourced) ¦ Burner ¦ Atmospheric Gas Burner | Medium
HVAC ¦ Central Heating (Internally Sourced) ¦ Burner ¦ Blown gas burner | Medium
HVAC ¦ Central Heating (Internally Sourced) ¦ Burner ¦ Forced draft gas burner | Medium
HVAC ¦ Central Heating (Internally Sourced) ¦ Burner ¦ Forced Draught Gas Condensing Boiler | Medium
HVAC ¦ Central Heating (Internally Sourced) ¦ Burner ¦ Gas/Oil Burner-Dual fuel | Medium
HVAC ¦ Central Heating (Internally Sourced) ¦ Burner ¦ Light oil vaporising pot burner | Urgent
HVAC ¦ Central Heating (Internally Sourced) ¦ Heat Exchangers ¦ Heat Reclaim Unit (Lossnay Type) | Medium
HVAC ¦ Central Heating (Internally Sourced) ¦ Heat Pumps ¦ Water to Water | Medium
HVAC ¦ Central Heating (Internally Sourced) ¦ Pressurisation Unit ¦ Gas/Oil Fired Heating System | Low
HVAC ¦ Ductwork ¦ Ductwork, Fittings and Ancillaries ¦ Central Ventilation Systems ¦ Fire Dampers ¦ Automatic | Urgent
HVAC ¦ Ductwork ¦ Ductwork, Fittings and Ancillaries ¦ Central Ventilation Systems ¦ Fire Dampers ¦ Fusible Link | Urgent
HVAC ¦ Ductwork ¦ Ductwork, Fittings and Ancillaries ¦ Central Ventilation Systems ¦ Fire Dampers ¦ Manual | Urgent
HVAC ¦ Fan ¦ Central Air Conditioning ¦ Axial | High
HVAC ¦ Fan ¦ Central Air Conditioning ¦ Centrifugal | Medium
HVAC ¦ Fan ¦ Central Air Conditioning ¦ Extract | Medium
HVAC ¦ Fan ¦ Central Air Conditioning ¦ Ventilating - General | Medium
HVAC ¦ Fan ¦ Central Cooling ¦ Axial | Medium
HVAC ¦ Fan ¦ Central Cooling ¦ Centrifugal | High
HVAC ¦ Fan ¦ Central Cooling ¦ Ventilating - General | Medium
HVAC ¦ Fan ¦ Central Heating & Cooling ¦ Axial | Medium
HVAC ¦ Fan ¦ Central Heating & Cooling ¦ Bifurcated | Medium
HVAC ¦ Fan ¦ Central Heating & Cooling ¦ Mixed Flow | Medium
HVAC ¦ Fan ¦ Central Heating & Cooling ¦ Ventilating - General | Medium
HVAC ¦ Fan ¦ Central Heating ¦ Axial | High
HVAC ¦ Fan ¦ Central Heating ¦ Extract | High
HVAC ¦ Fan ¦ Central Heating ¦ Mixed Flow | High
HVAC ¦ Fan ¦ Central Heating ¦ Ventilating - General | Medium
HVAC ¦ Fan ¦ Central Ventilation Systems ¦ Axial | Medium
HVAC ¦ Fan ¦ Central Ventilation Systems ¦ Bifurcated | Medium
HVAC ¦ Fan ¦ Central Ventilation Systems ¦ Centrifugal | Medium
HVAC ¦ Fan ¦ Central Ventilation Systems ¦ Extract | Medium
HVAC ¦ Fan ¦ Central Ventilation Systems ¦ Mixed Flow | Medium
HVAC ¦ Fan ¦ Central Ventilation Systems ¦ Ventilating - General | Low
HVAC ¦ Fan ¦ Local and Special Ventilation ¦ Axial | Medium
HVAC ¦ Fan ¦ Local and Special Ventilation ¦ Bifurcated | Medium
HVAC ¦ Fan ¦ Local and Special Ventilation ¦ Centrifugal | Medium
HVAC ¦ Fan ¦ Local and Special Ventilation ¦ Extract | Medium
HVAC ¦ Fan ¦ Local and Special Ventilation ¦ Extract Fans - Twin Toilet | Medium
HVAC ¦ Fan ¦ Local and Special Ventilation ¦ Fans Window or Wall Mounted | Medium
HVAC ¦ Fan ¦ Local and Special Ventilation ¦ Hazardous Area Extract Fan | Medium
HVAC ¦ Fan ¦ Local and Special Ventilation ¦ Kitchen Vent ¦ Axial | High
HVAC ¦ Fan ¦ Local and Special Ventilation ¦ Kitchen Vent ¦ Extract | Low
HVAC ¦ Fan ¦ Local and Special Ventilation ¦ Kitchen Vent ¦ Fans Window or Wall Mounted | Medium
HVAC ¦ Fan ¦ Local and Special Ventilation ¦ Kitchen Vent ¦ Mixed Flow | Medium
HVAC ¦ Fan ¦ Local and Special Ventilation ¦ Kitchen Vent ¦ Ventilating - General | Medium
HVAC ¦ Fan ¦ Local and Special Ventilation ¦ Mixed Flow | Medium
HVAC ¦ Fan ¦ Local and Special Ventilation ¦ Ventilating - General | Medium
HVAC ¦ Fan ¦ Smoke Extract | Urgent
HVAC ¦ Fan ¦ Smoke Extract ¦ Powered Pressurisation Fan Systems | High
HVAC ¦ Heat Emitters - Central ¦ LTHW Overdoor Air Curtain/Heater | High
HVAC ¦ Heat Emitters - Central ¦ Radiators ¦ Aluminium | Medium
HVAC ¦ Heat Emitters - Central ¦ Radiators ¦ Steel | Medium
HVAC ¦ Heat Emitters - Central ¦ Unit Heaters | Medium
HVAC ¦ Heat Emitters - Local ¦ Electric Heaters | Medium
HVAC ¦ Heat Emitters - Local ¦ Electric Overdoor Air Curtain/Heater | Medium
HVAC ¦ Heat Emitters - Local ¦ Fan Convector - Electric | Medium
HVAC ¦ Heat Emitters - Local ¦ Gas Fired Ceramic Plaque Infra-Red Heaters | Medium
HVAC ¦ Heat Emitters - Local ¦ Gas Fired Natural and Fan Assisted Heaters | Medium
HVAC ¦ Heat Emitters - Local ¦ Gas Fired Radiant Heaters | Medium
HVAC ¦ Heat Emitters - Local ¦ Gas Fired Unit Heaters | Medium
HVAC ¦ Heat Emitters - Local ¦ Gas Radiant Tube Heaters | Medium
HVAC ¦ Heat Emitters - Local ¦ Oil Fired Natural and Fan Assisted Heaters | Low
HVAC ¦ Heat Emitters - Local ¦ Oil Fired Unit Heaters | Medium
HVAC ¦ Local Air Conditioning ¦ Single-Split Condenser - Split Systems/Heat Pumps - Air-cooled with Direct Expansion Evaporator (DX) | Medium
HVAC ¦ Local Air Conditioning ¦ Single-Split Evaporator - Split Systems/Heat Pumps - Air-cooled with Direct Expansion Evaporator (DX) | Medium
HVAC ¦ Local and Special Ventilation ¦ Unit extract fans. | Medium
HVAC ¦ Pump ¦ Central Heating (Internally Sourced) ¦ Circulating | High
HVAC ¦ Pump ¦ Central Heating (Internally Sourced) ¦ Condensate Pumps | Medium
HVAC ¦ Pump ¦ Central Heating (Internally Sourced) ¦ General | V Low
HVAC ¦ Smoke Extract ¦ Control Panel - smoke ventilation systems. | Urgent
HVAC ¦ Ventilation ¦ Air Handling Unit (AHU) ¦ External ¦ Central Air Conditioning ¦ DX Cooling | High
HVAC ¦ Ventilation ¦ Air Handling Unit (AHU) ¦ External ¦ Central Air Conditioning ¦ Electric & DX | Medium
HVAC ¦ Ventilation ¦ Air Handling Unit (AHU) ¦ External ¦ Central Air Conditioning ¦ Gas Fired | Medium
HVAC ¦ Ventilation ¦ Air Handling Unit (AHU) ¦ External ¦ Central Cooling ¦ CHW Cooling | Medium
HVAC ¦ Ventilation ¦ Air Handling Unit (AHU) ¦ External ¦ Central Heating & Cooling ¦ Electric & DX | Medium
HVAC ¦ Ventilation ¦ Air Handling Unit (AHU) ¦ External ¦ Central Heating (Externally Sourced) ¦ Gas Fired | Medium
HVAC ¦ Ventilation ¦ Air Handling Unit (AHU) ¦ Internal ¦ Central Air Conditioning ¦ DX Cooling | High
HVAC ¦ Ventilation ¦ Air Handling Unit (AHU) ¦ Internal ¦ Central Air Conditioning ¦ Electric & DX | High
HVAC ¦ Ventilation ¦ Air Handling Unit (AHU) ¦ Internal ¦ Central Air Conditioning ¦ Electric Heating | High
HVAC ¦ Ventilation ¦ Air Handling Unit (AHU) ¦ Internal ¦ Central Air Conditioning ¦ Gas Fired | Medium
HVAC ¦ Ventilation ¦ Air Handling Unit (AHU) ¦ Internal ¦ Central Cooling ¦ CHW Cooling | Medium
HVAC ¦ Ventilation ¦ Air Handling Unit (AHU) ¦ Internal ¦ Central Heating & Cooling ¦ Electric & CHW | Medium
HVAC ¦ Ventilation ¦ Air Handling Unit (AHU) ¦ Internal ¦ Central Heating & Cooling ¦ Electric & DX | Medium
HVAC ¦ Ventilation ¦ Air Handling Unit (AHU) ¦ Internal ¦ Central Heating & Cooling ¦ LTHW & CHW | High
HVAC ¦ Ventilation ¦ Air Handling Unit (AHU) ¦ Internal ¦ Central Heating & Cooling ¦ LTHW & DX | High
HVAC ¦ Ventilation ¦ Air Handling Unit (AHU) ¦ Internal ¦ Central Heating (Externally Sourced) ¦ Gas Fired | Medium
HVAC ¦ Ventilation ¦ Air Handling Unit (AHU) ¦ Internal ¦ Central Heating (Internally Sourced) ¦ Electric Heating | Medium
HVAC ¦ Ventilation ¦ Air Handling Unit (AHU) ¦ Internal ¦ Central Heating (Internally Sourced) ¦ Gas Fired | Medium
HVAC ¦ Ventilation ¦ Air Handling Unit (AHU) ¦ Internal ¦ Central Ventilation Systems ¦ Ventilation Only | Medium
Lightning Protection ¦ System | High
Sanitary ¦ Cleaners Sinks ¦ Vitreous china/fireclay/uPVC | Low
Sanitary ¦ Hand Dryers ¦ Standard | Medium
Sanitary ¦ Shower ¦ Pumps ¦ Showers Booster Pumps | Medium
Sanitary ¦ Sinks / basins ¦ Vitreous china/fireclay/uPVC | Medium
Sanitary ¦ WC Toilet Disabled / All Types ¦ Vitreous china/fireclay/uPVC | Medium
Sanitary ¦ WC Toilet Standard / All Types ¦ Vitreous china/fireclay/uPVC | Medium
Security ¦ Access ¦ Access Control ¦ Coded Entry (Internal) | Medium
Security ¦ Access ¦ Access Control ¦ Door ¦ Local Lock / Keypad / Manual | Medium
Security ¦ Access ¦ Access Control ¦ Gate Access - Local Lock / Keypad / Manual (External) | Medium
Security ¦ Barriers and Guardrails ¦ Automatic Vehicle Raising Bollard | High
Security ¦ Barriers and Guardrails ¦ Manual Vehicle Barrier | Medium
Security ¦ Barriers and Guardrails ¦ Security Controlled Barrier | High
Security ¦ Security Systems ¦ CCTV ¦ Digital Recorder | High
Security ¦ Security Systems ¦ CCTV ¦ External ¦ Camera ¦ Fixed Dome | High
Security ¦ Security Systems ¦ CCTV ¦ Internal ¦ Camera ¦ Bullet | High
Security ¦ Security Systems ¦ CCTV ¦ Internal ¦ Camera ¦ Fixed Dome | Urgent
Security ¦ Security Systems ¦ CCTV ¦ Internal ¦ Camera ¦ PTZ Dome | High
Security ¦ Security Systems ¦ CCTV ¦ Monitors | High
Security ¦ Security Systems ¦ Intruder Systems ¦ Intruder Alarms | Urgent
Security ¦ Security Systems ¦ Personal Protection ¦ Personal Attack Alarm System | Urgent
Special Installations ¦ Specialist Piped Systems ¦ Air Compressors ¦ Air Compressors | Medium
Transport ¦ Dock and scissor lifts ¦ Dock Levellers | Medium
Transport ¦ Lifts ¦ Disabled Lift ¦ Electric | High
Transport ¦ Lifts ¦ Disabled Lift ¦ Hydraulic | High
Transport ¦ Lifts ¦ Document Lift - Complete Installation ¦ Electric | High
Transport ¦ Lifts ¦ Document Lift - Complete Installation ¦ Traction | Medium
Transport ¦ Lifts ¦ Document Lift ¦ Electric | Medium
Transport ¦ Lifts ¦ Goods Lift electric ¦ Electric | Medium
Transport ¦ Lifts ¦ Passenger Lift electric ¦ Electric | Medium
Transport ¦ Lifts ¦ Passenger Lift Hydraulic ¦ Hydraulic | Medium
Transport ¦ Lifts ¦ Passenger Lift Traction ¦ Traction | Medium
Transport ¦ Lifts ¦ Scissor Lift | Medium
Transport ¦ Lifts ¦ Wheel Chair Lift | High
Water ¦ Central Cold Water Distribution ¦ Pressurisation Unit | Medium
Water ¦ Central Hot Water Distribution ¦ Calorifier-LTHW ¦ Copper | High
Water ¦ Central Hot Water Distribution ¦ Calorifier-LTHW ¦ Steel, Galvanised | High
Water ¦ Central Hot Water Distribution ¦ Direct fired Water Heaters | Low
Water ¦ Central Hot Water Distribution ¦ Expansion Vessels ¦ Closed (with membrane) | High
Water ¦ Central Hot Water Distribution ¦ Hot water cylinders | High
Water ¦ Central Hot Water Distribution ¦ Hot water cylinders Domestic Type | Low
Water ¦ Central Hot Water Distribution ¦ Pressurisation Unit | Medium
Water ¦ Central Hot Water Distribution ¦ Pumps ¦ Centrifugal | Medium
Water ¦ Central Hot Water Distribution ¦ Pumps ¦ Domestic Water Accelerators | High
Water ¦ Central Hot Water Distribution ¦ Pumps ¦ Secondary Hot Water Circulating | Medium
Water ¦ Cold Water Distribution ¦ Water Pumping Pressure Boosting Set | Medium
Water ¦ Hot Water Distribution ¦ Tank ¦ Break Tank and Pump (Fluid Category 5 Backflow Protection) | Urgent
Water ¦ Local Hot Water ¦ Electric Water Heater - Drinking Water ¦ Instantaneous Potable Combination Hot, Chilled and Carbonated Water Tap (Fluorinated Gas) | Low
Water ¦ Local Hot Water ¦ Electric Water Heater - Drinking Water ¦ Instantaneous Potable Combination Hot, Chilled and Carbonated Water Tap (Non-Fluorinated Gas) | Low
Water ¦ Local Hot Water ¦ Electric Water Heater - Drinking Water ¦ Non-Pressurised | Medium
Water ¦ Local Hot Water ¦ Electric Water Heater - Drinking Water ¦ Pressurised | Medium
Water ¦ Local Hot Water ¦ Instantaneous Electric Water Heater - Non-Drinking Water | Medium
Water ¦ Local Hot Water ¦ Package Electric Water Heaters - Non-Drinking Water | Medium
Water ¦ Mains Water Supply ¦ Water Meters - Utility | Low

## Breakdown
Row Labels | Urgent | High | Medium | Low | V Low | Grand Total | Criticality
Catering ¦ Commercial Sanitary ¦ Sink ¦ Stainless Steel |  |  | 1 |  |  | 1 | Medium
Communication and Control ¦ Communication Systems ¦ Public Address (PA) System |  | 4 | 46 | 16 | 13 | 79 | Medium
Communication and Control ¦ Emergency Communication Systems ¦ Pull Cord/Alarm Switch | 2 |  |  |  |  | 2 | Urgent
Controls ¦ Building Management System (BMS) ¦ BMS Control Panel | 2 | 92 | 55 |  |  | 149 | High
Controls ¦ Building Management System (BMS) ¦ Central Operating Station |  | 17 | 4 |  |  | 21 | High
Controls ¦ Multi-System Controls ¦ Control Panel - Electrical Services (excluding Electrical Controllers and Pneumatic Relays) | 5 | 68 | 84 | 6 | 5 | 168 | Medium
Controls ¦ Multi-System Controls ¦ Instrument Control Panel | 2 | 5 | 65 | 25 | 2 | 99 | Medium
Controls ¦ Multi-System Controls ¦ Motor Control Centre (MCC) |  |  | 1 | 19 |  | 20 | Low
Controls ¦ Multi-System Controls ¦ Multi-Input Controllers |  | 1 | 11 |  |  | 12 | Medium
Drainage ¦ External Drainage ¦ Surface Water and Foul Drainage ¦ Pump Drainage-Dry Well |  | 1 |  |  |  | 1 | High
Drainage ¦ External Drainage ¦ Surface Water and Foul Drainage ¦ Pumps - Sewage: Compressed Air |  | 2 |  |  |  | 2 | High
Drainage ¦ Foul Drainage ¦ Sump Pumps-Extended Shaft |  | 4 | 1 | 1 |  | 6 | High
Electrical ¦ Lighting ¦ External ¦ General - LED | 5 | 111 | 324 | 142 | 2 | 584 | Medium
Electrical ¦ Lighting ¦ External ¦ General - Non-LED | 1 | 55 | 202 | 74 | 5 | 337 | Medium
Electrical ¦ Lighting ¦ Internal ¦ Emergency ¦ Externally Powered ¦ LED | 21 |  |  |  |  | 21 | Urgent
Electrical ¦ Lighting ¦ Internal ¦ Emergency ¦ Externally Powered ¦ Non LED | 32 |  | 5 |  |  | 37 | Urgent
Electrical ¦ Lighting ¦ Internal ¦ Emergency ¦ Self Contained ¦ LED | 1621 | 37 | 33 | 21 |  | 1712 | Urgent
Electrical ¦ Lighting ¦ Internal ¦ Emergency ¦ Self Contained ¦ Non LED | 440 | 14 | 3 |  |  | 457 | Urgent
Electrical ¦ Lighting ¦ Internal ¦ General | 5 | 96 | 717 | 95 | 3 | 916 | Medium
Electrical ¦ Lighting ¦ Internal ¦ General ¦ LED Fittings & Luminaires | 6 | 265 | 1123 | 160 |  | 1554 | Medium
Electrical ¦ LV Distribution ¦ Distribution Board ¦ Main | 123 | 510 | 371 | 166 |  | 1170 | High
Electrical ¦ LV Distribution ¦ Distribution Board ¦ Sub | 197 | 1029 | 914 | 265 | 5 | 2410 | High
Electrical ¦ LV Distribution ¦ Electricity Meters |  |  | 1 | 1 |  | 2 | Medium
Electrical ¦ LV Distribution ¦ Feeder Pillar | 7 | 1 |  |  |  | 8 | Urgent
Electrical ¦ LV Distribution ¦ LV Switch Panel |  | 11 | 1 |  |  | 12 | High
Electrical ¦ LV Distribution ¦ Main Switch Panel at Supply Intake | 2 | 4 | 46 |  |  | 52 | Medium
Electrical ¦ Power Generation ¦ External to Building ¦ Large Solar Systems - Photovoltaic (PV) - Grid Connected |  |  |  | 1 |  | 1 | Low
Electrical ¦ Power Generation ¦ External to Building ¦ Photovoltaics (External to the Building) |  |  | 1 | 1 |  | 2 | Medium
Electrical ¦ Power Generation ¦ External to Building ¦ Solar Collectors (External to the Building) |  |  |  | 1 |  | 1 | Low
Electrical ¦ Power Generation ¦ Internal ¦ Photovoltaics (Connected to the Building) |  |  | 4 |  |  | 4 | Medium
Electrical ¦ Specialist Lighting ¦ External ¦ Illuminated External Signs |  | 9 | 62 | 25 | 6 | 102 | Medium
Electrical ¦ Specialist Lighting ¦ Internal ¦ Illuminated Fire Exit Signage | 1133 | 78 | 23 | 23 |  | 1257 | Urgent
Fabric ¦ Barriers and Guardrails ¦ Fixed Edge Protection |  | 9 |  |  |  | 9 | High
Fabric ¦ Barriers and Guardrails ¦ Vehicle Crash Protection Barrier |  | 53 | 112 | 121 | 179 | 465 | V Low
Fabric ¦ Roads, Paths and Paving's ¦ Galvanised Steel Access Platforms |  | 1 |  |  |  | 1 | High
Fabric ¦ Superstructure ¦ Internal Doors ¦ Fire Doors ¦ Double | 1 |  |  |  |  | 1 | Urgent
Fabric ¦ Superstructure ¦ Internal Doors ¦ Fire Doors ¦ Internal Roller Shutter- Fire Rated | 8 |  |  |  |  | 8 | Urgent
Fabric ¦ Superstructure ¦ Internal Doors ¦ Fire Doors ¦ Single | 16 |  |  |  |  | 16 | Urgent
Fabric ¦ Superstructure ¦ Internal Doors ¦ Roller Shutters ¦ Automatic Fabric Roll Up Door |  | 9 | 6 |  |  | 15 | High
Fabric ¦ Superstructure ¦ Internal Doors ¦ Roller Shutters ¦ Automatic Roller Shutter |  | 47 | 11 | 5 |  | 63 | High
Fabric ¦ Superstructure ¦ Internal Doors ¦ Roller Shutters ¦ Electric Roller Shutter | 17 | 142 | 288 | 141 | 1 | 589 | Medium
Fabric ¦ Superstructure ¦ Internal Doors ¦ Roller Shutters ¦ Internal Manual Roller Shutter | 6 | 18 | 81 | 67 | 5 | 177 | Medium
Fabric ¦ Superstructure ¦ Internal Doors ¦ Roller Shutters ¦ Internal Manual Roller Shutter ¦ 24 High x 25 Wide |  |  | 2 |  | 1 | 3 | Medium
Fabric ¦ Superstructure ¦ Roof ¦ Roof Features ¦ Fall Arrest Systems ¦ Cable and Track/Rail Based Safety Systems |  | 1 |  |  |  | 1 | High
Fabric ¦ Superstructure ¦ Roof ¦ Roof Lights, Skylights and Openings ¦ Smoke vents ¦ Smoke Relief-Natural Ventilators | 17 |  |  |  |  | 17 | Urgent
Fabric ¦ Superstructure ¦ Windows and External Doors ¦ External Doors ¦ Entrance Doors | 72 | 442 | 414 | 148 | 6 | 1082 | High
Fabric ¦ Superstructure ¦ Windows and External Doors ¦ External Doors ¦ Manual and Automatic Doors ¦ Auto / Powered Bi-Fold Doors |  | 1 | 5 |  |  | 6 | Medium
Fabric ¦ Superstructure ¦ Windows and External Doors ¦ External Doors ¦ Manual and Automatic Doors ¦ Auto / Powered Sliding Doors | 15 | 151 | 76 | 19 | 1 | 262 | High
Fabric ¦ Superstructure ¦ Windows and External Doors ¦ External Doors ¦ Manual and Automatic Doors ¦ Auto / Powered Swing Doors | 2 | 17 | 8 | 8 |  | 35 | High
Fabric ¦ Superstructure ¦ Windows and External Doors ¦ External Doors ¦ Manual and Automatic Doors ¦ Emergency and Panic Escape Doors | 1247 | 45 | 37 | 25 |  | 1354 | Urgent
Fabric ¦ Superstructure ¦ Windows and External Doors ¦ External Doors ¦ Manual and Automatic Doors ¦ High Security Door | 53 | 156 | 47 | 1 |  | 257 | High
Fabric ¦ Superstructure ¦ Windows and External Doors ¦ External Doors ¦ Manual and Automatic Doors ¦ Powered Bi-Fold Doors |  |  | 3 |  |  | 3 | Medium
Fabric ¦ Superstructure ¦ Windows and External Doors ¦ External Doors ¦ Manual and Automatic Doors ¦ Powered Sliding Doors (Push Pad) |  | 2 | 2 |  |  | 4 | High
Fabric ¦ Superstructure ¦ Windows and External Doors ¦ External Doors ¦ Manual and Automatic Doors ¦ Powered Swing Doors (Push Pad) |  | 8 | 5 |  |  | 13 | High
Fabric ¦ Superstructure ¦ Windows and External Doors ¦ External Windows ¦ Roller Shutters ¦ External Window Shutters ¦ Electric | 3 | 19 | 38 | 2 |  | 62 | Medium
Fabric ¦ Superstructure ¦ Windows and External Doors ¦ External Windows ¦ Roller Shutters ¦ External Window Shutters ¦ Manual | 6 | 26 | 40 | 13 |  | 85 | Medium
Fabric ¦ Superstructure ¦ Windows and External Doors ¦ Roller Shutters ¦ Automatic Fabric Roll Up Door |  |  | 1 |  |  | 1 | Medium
Fabric ¦ Superstructure ¦ Windows and External Doors ¦ Roller Shutters ¦ Automatic Roller Shutter |  | 6 | 6 |  |  | 12 | High
Fabric ¦ Superstructure ¦ Windows and External Doors ¦ Roller Shutters ¦ Electric Roller Shutter | 60 | 372 | 243 | 17 | 2 | 694 | High
Fabric ¦ Superstructure ¦ Windows and External Doors ¦ Roller Shutters ¦ Manual Roller Shutter | 94 | 584 | 554 | 125 |  | 1357 | High
Fabric ¦ Superstructure ¦ Windows and External Doors ¦ Roller Shutters ¦ Manual Roller Shutter ¦ 24 High x 25 Wide | 9 | 1 |  | 1 |  | 11 | Urgent
FFE ¦ Equipment ¦ Domestic Kitchen ¦ Fridge |  |  | 2 | 1 |  | 3 | Medium
FFE ¦ Equipment ¦ Domestic Kitchen ¦ Microwave |  |  |  | 2 |  | 2 | Low
FFE ¦ Equipment ¦ Domestic Kitchen ¦ Sinks - Domestic Kitchen Stainless Steel |  |  | 2 | 1 |  | 3 | Medium
Fire ¦ Fire Detection ¦ Fire Alarm - Voice Alarm Systems | 2 |  |  |  |  | 2 | Urgent
Fire ¦ Fire Detection ¦ Fire Alarm Panel / Repeater | 430 | 2 |  |  |  | 432 | Urgent
Fire ¦ Fire Detection ¦ Fire Alarm Panel / Repeater (Vesda) | 10 | 1 |  | 1 |  | 12 | Urgent
Fire ¦ Fire Detection ¦ Fire Alarm System | 436 | 2 | 3 | 8 |  | 449 | Urgent
Fire ¦ Fire Detection ¦ Fire Beacon/ Strobe | 1 |  |  |  |  | 1 | Urgent
Fire ¦ Fire Detection ¦ Fire Call Point / Break Glass BGU | 3 |  | 1 |  |  | 4 | Urgent
Fire ¦ Fire Detection ¦ Fire Heat Detector | 1 |  |  |  |  | 1 | Urgent
Fire ¦ Fire Detection ¦ Fire Smoke Detector ¦ Ceiling/Wall Mounted | 3 |  |  |  |  | 3 | Urgent
Fire ¦ Fire Detection ¦ Fire Sounder | 4 |  |  |  |  | 4 | Urgent
Fire ¦ Fire Fighting ¦ Fire Blanket | 97 |  |  |  |  | 97 | Urgent
Fire ¦ Fire Fighting ¦ Fire Extinguishers ¦ CO2 | 1306 | 32 | 4 | 9 |  | 1351 | Urgent
Fire ¦ Fire Fighting ¦ Fire Extinguishers ¦ Dry Chemical | 13 |  |  |  |  | 13 | Urgent
Fire ¦ Fire Fighting ¦ Fire Extinguishers ¦ Foam | 1388 | 30 | 4 | 11 |  | 1433 | Urgent
Fire ¦ Fire Fighting ¦ Fire Extinguishers ¦ Foam - P50 | 19 |  |  |  |  | 19 | Urgent
Fire ¦ Fire Fighting ¦ Fire Extinguishers ¦ Inert Gas | 4 |  |  |  |  | 4 | Urgent
Fire ¦ Fire Fighting ¦ Fire Extinguishers ¦ Powder | 257 | 5 | 1 | 2 |  | 265 | Urgent
Fire ¦ Fire Fighting ¦ Fire Extinguishers ¦ Powder - P50 | 11 |  |  |  |  | 11 | Urgent
Fire ¦ Fire Fighting ¦ Fire Extinguishers ¦ Water | 27 | 1 | 1 | 1 |  | 30 | Urgent
Fire ¦ Fire Fighting ¦ Fire Extinguishers ¦ Water Mist - P50 | 3 |  |  |  |  | 3 | Urgent
Fire ¦ Fire Fighting ¦ Fire Extinguishers ¦ Water Pressure | 1 |  |  |  |  | 1 | Urgent
Fire ¦ Fire Fighting ¦ Fire Extinguishers ¦ Wet Chemical | 3 |  |  |  |  | 3 | Urgent
Fire ¦ Fire suppression systems ¦ Sprinkler System ¦ Break Tank ¦ Plastic or non metallic | 1 |  |  |  |  | 1 | Urgent
Fire ¦ Fire suppression systems ¦ Sprinkler System ¦ Control Panel |  |  | 1 |  |  | 1 | Medium
Fuel ¦ Distribution Systems ¦ External Storage ¦ Pumps ¦ Fuel Transfer Pump - Diesel |  |  | 5 |  |  | 5 | Medium
Fuel ¦ Distribution Systems ¦ Internal Storage ¦ Gas Meters |  |  | 1 |  |  | 1 | Medium
Fuel ¦ Distribution Systems ¦ Internal Storage ¦ Pumps ¦ Fuel Transfer Pump - Diesel |  |  | 3 |  |  | 3 | Medium
Fuel ¦ Distribution Systems ¦ Internal Storage ¦ Pumps ¦ Fuel Transfer Pump - Oil |  |  | 1 |  |  | 1 | Medium
HVAC ¦ Central Air Conditioning ¦ Air Conditioning ¦ Multi-Split Condenser - DX Split Systems (With Gas, Electric or Hot Water Heaters) | 4 | 12 | 33 | 4 |  | 53 | Medium
HVAC ¦ Central Air Conditioning ¦ Air Conditioning ¦ Multi-Split Condenser - Split Systems/Heat Pumps - Air-cooled with Direct Expansion Evaporator (DX) |  | 41 | 129 | 79 |  | 249 | Medium
HVAC ¦ Central Air Conditioning ¦ Air Conditioning ¦ Multi-Split Evaporator - DX Split Systems (With Gas, Electric or Hot Water Heaters) |  | 4 | 4 |  | 2 | 10 | High
HVAC ¦ Central Air Conditioning ¦ Air Conditioning ¦ Multi-Split Evaporator - Split Systems/Heat Pumps - Air-cooled with Direct Expansion Evaporator (DX) |  | 31 | 120 | 60 |  | 211 | Medium
HVAC ¦ Central Cooling ¦ Pressurisation Unit |  |  |  |  | 1 | 1 | V Low
HVAC ¦ Central Heating (Internally Sourced) ¦ Boiler ¦ Atmospheric Gas Burner - Condensing Boiler |  | 11 | 9 | 1 | 3 | 24 | High
HVAC ¦ Central Heating (Internally Sourced) ¦ Boiler ¦ Atmospheric Gas Burner - Free Standing Boiler |  | 1 | 11 |  |  | 12 | Medium
HVAC ¦ Central Heating (Internally Sourced) ¦ Boiler ¦ Atmospheric Gas Burner Boiler - Small and/or Wall Hung for Domestic Installation |  | 2 | 34 | 8 |  | 44 | Medium
HVAC ¦ Central Heating (Internally Sourced) ¦ Boiler ¦ Atmospheric Gas Burner Boiler - Small and/or Wall Hung for Light Commercial Installation | 1 | 4 | 33 | 1 | 1 | 40 | Medium
HVAC ¦ Central Heating (Internally Sourced) ¦ Boiler ¦ Atmospheric Gas Burner/Condensing Combination Boiler |  | 1 | 10 | 2 |  | 13 | Medium
HVAC ¦ Central Heating (Internally Sourced) ¦ Boiler ¦ Atmospheric Gas Burner/Condensing Combination Boiler (domestic type) | 2 | 43 | 43 | 29 | 1 | 118 | High
HVAC ¦ Central Heating (Internally Sourced) ¦ Boiler ¦ Blown Gas Burner Condensing Boiler |  |  |  | 3 |  | 3 | Low
HVAC ¦ Central Heating (Internally Sourced) ¦ Boiler ¦ Blown Gas Burner Modular Boiler |  |  |  | 1 |  | 1 | Low
HVAC ¦ Central Heating (Internally Sourced) ¦ Boiler ¦ Boiler MTHW Commercial |  |  |  |  | 1 | 1 | V Low
HVAC ¦ Central Heating (Internally Sourced) ¦ Boiler ¦ Boiler Superheaters Commercial |  | 1 | 2 |  |  | 3 | Medium
HVAC ¦ Central Heating (Internally Sourced) ¦ Boiler ¦ Boilers LTHW Commercial |  |  | 1 |  |  | 1 | Medium
HVAC ¦ Central Heating (Internally Sourced) ¦ Boiler ¦ Burner Forced Draught [Pressure Jet] Oil | 1 | 1 | 2 |  |  | 4 | Medium
HVAC ¦ Central Heating (Internally Sourced) ¦ Boiler ¦ Combination Atmospheric Burner Gas Boiler | 3 | 20 | 18 |  | 2 | 43 | High
HVAC ¦ Central Heating (Internally Sourced) ¦ Boiler ¦ Electric Boilers |  | 13 | 53 | 1 |  | 67 | Medium
HVAC ¦ Central Heating (Internally Sourced) ¦ Boiler ¦ Electrode Boilers |  |  | 4 |  |  | 4 | Medium
HVAC ¦ Central Heating (Internally Sourced) ¦ Burner ¦ Atmospheric Gas Burner | 1 | 4 | 7 | 1 |  | 13 | Medium
HVAC ¦ Central Heating (Internally Sourced) ¦ Burner ¦ Blown gas burner | 2 | 4 | 6 | 5 |  | 17 | Medium
HVAC ¦ Central Heating (Internally Sourced) ¦ Burner ¦ Forced draft gas burner | 1 | 30 | 60 | 11 | 2 | 104 | Medium
HVAC ¦ Central Heating (Internally Sourced) ¦ Burner ¦ Forced Draught Gas Condensing Boiler |  |  | 1 |  |  | 1 | Medium
HVAC ¦ Central Heating (Internally Sourced) ¦ Burner ¦ Gas/Oil Burner-Dual fuel |  |  | 5 |  |  | 5 | Medium
HVAC ¦ Central Heating (Internally Sourced) ¦ Burner ¦ Light oil vaporising pot burner | 2 |  |  |  |  | 2 | Urgent
HVAC ¦ Central Heating (Internally Sourced) ¦ Heat Exchangers ¦ Heat Reclaim Unit (Lossnay Type) |  | 2 | 4 |  |  | 6 | Medium
HVAC ¦ Central Heating (Internally Sourced) ¦ Heat Pumps ¦ Water to Water |  |  | 1 |  |  | 1 | Medium
HVAC ¦ Central Heating (Internally Sourced) ¦ Pressurisation Unit ¦ Gas/Oil Fired Heating System | 1 |  | 1 | 2 |  | 4 | Low
HVAC ¦ Ductwork ¦ Ductwork, Fittings and Ancillaries ¦ Central Ventilation Systems ¦ Fire Dampers ¦ Automatic | 33 | 8 | 1 |  |  | 42 | Urgent
HVAC ¦ Ductwork ¦ Ductwork, Fittings and Ancillaries ¦ Central Ventilation Systems ¦ Fire Dampers ¦ Fusible Link | 43 |  |  |  |  | 43 | Urgent
HVAC ¦ Ductwork ¦ Ductwork, Fittings and Ancillaries ¦ Central Ventilation Systems ¦ Fire Dampers ¦ Manual | 1 | 1 |  |  |  | 2 | Urgent
HVAC ¦ Fan ¦ Central Air Conditioning ¦ Axial |  | 1 |  |  |  | 1 | High
HVAC ¦ Fan ¦ Central Air Conditioning ¦ Centrifugal |  |  | 10 |  |  | 10 | Medium
HVAC ¦ Fan ¦ Central Air Conditioning ¦ Extract |  |  | 1 | 1 |  | 2 | Medium
HVAC ¦ Fan ¦ Central Air Conditioning ¦ Ventilating - General |  |  | 16 |  |  | 16 | Medium
HVAC ¦ Fan ¦ Central Cooling ¦ Axial |  | 1 | 199 |  |  | 200 | Medium
HVAC ¦ Fan ¦ Central Cooling ¦ Centrifugal |  | 3 |  |  |  | 3 | High
HVAC ¦ Fan ¦ Central Cooling ¦ Ventilating - General |  |  | 1 |  |  | 1 | Medium
HVAC ¦ Fan ¦ Central Heating & Cooling ¦ Axial |  |  | 4 |  |  | 4 | Medium
HVAC ¦ Fan ¦ Central Heating & Cooling ¦ Bifurcated |  |  | 81 |  |  | 81 | Medium
HVAC ¦ Fan ¦ Central Heating & Cooling ¦ Mixed Flow |  | 2 | 29 |  |  | 31 | Medium
HVAC ¦ Fan ¦ Central Heating & Cooling ¦ Ventilating - General |  | 1 | 6 |  |  | 7 | Medium
HVAC ¦ Fan ¦ Central Heating ¦ Axial | 1 | 112 | 7 |  |  | 120 | High
HVAC ¦ Fan ¦ Central Heating ¦ Extract |  | 1 |  |  |  | 1 | High
HVAC ¦ Fan ¦ Central Heating ¦ Mixed Flow |  | 3 | 1 |  |  | 4 | High
HVAC ¦ Fan ¦ Central Heating ¦ Ventilating - General |  |  | 4 | 4 |  | 8 | Medium
HVAC ¦ Fan ¦ Central Ventilation Systems ¦ Axial |  | 4 | 56 |  |  | 60 | Medium
HVAC ¦ Fan ¦ Central Ventilation Systems ¦ Bifurcated |  |  | 11 |  |  | 11 | Medium
HVAC ¦ Fan ¦ Central Ventilation Systems ¦ Centrifugal |  |  | 3 |  |  | 3 | Medium
HVAC ¦ Fan ¦ Central Ventilation Systems ¦ Extract |  | 2 | 64 | 13 | 1 | 80 | Medium
HVAC ¦ Fan ¦ Central Ventilation Systems ¦ Mixed Flow |  |  | 6 |  |  | 6 | Medium
HVAC ¦ Fan ¦ Central Ventilation Systems ¦ Ventilating - General |  | 2 | 68 | 288 | 6 | 364 | Low
HVAC ¦ Fan ¦ Local and Special Ventilation ¦ Axial |  | 5 | 487 | 23 | 12 | 527 | Medium
HVAC ¦ Fan ¦ Local and Special Ventilation ¦ Bifurcated |  |  | 11 |  |  | 11 | Medium
HVAC ¦ Fan ¦ Local and Special Ventilation ¦ Centrifugal |  | 22 | 154 | 19 |  | 195 | Medium
HVAC ¦ Fan ¦ Local and Special Ventilation ¦ Extract |  | 6 | 494 | 340 | 103 | 943 | Medium
HVAC ¦ Fan ¦ Local and Special Ventilation ¦ Extract Fans - Twin Toilet | 1 |  | 20 | 3 |  | 24 | Medium
HVAC ¦ Fan ¦ Local and Special Ventilation ¦ Fans Window or Wall Mounted |  | 10 | 663 | 82 | 4 | 759 | Medium
HVAC ¦ Fan ¦ Local and Special Ventilation ¦ Hazardous Area Extract Fan |  | 1 | 9 |  | 1 | 11 | Medium
HVAC ¦ Fan ¦ Local and Special Ventilation ¦ Kitchen Vent ¦ Axial |  | 1 |  |  |  | 1 | High
HVAC ¦ Fan ¦ Local and Special Ventilation ¦ Kitchen Vent ¦ Extract |  |  | 24 | 165 | 1 | 190 | Low
HVAC ¦ Fan ¦ Local and Special Ventilation ¦ Kitchen Vent ¦ Fans Window or Wall Mounted | 1 | 1 | 56 | 1 |  | 59 | Medium
HVAC ¦ Fan ¦ Local and Special Ventilation ¦ Kitchen Vent ¦ Mixed Flow |  |  | 1 |  |  | 1 | Medium
HVAC ¦ Fan ¦ Local and Special Ventilation ¦ Kitchen Vent ¦ Ventilating - General |  |  | 5 |  |  | 5 | Medium
HVAC ¦ Fan ¦ Local and Special Ventilation ¦ Mixed Flow |  |  | 4 |  |  | 4 | Medium
HVAC ¦ Fan ¦ Local and Special Ventilation ¦ Ventilating - General |  | 6 | 144 | 36 | 7 | 193 | Medium
HVAC ¦ Fan ¦ Smoke Extract | 29 |  | 1 | 2 |  | 32 | Urgent
HVAC ¦ Fan ¦ Smoke Extract ¦ Powered Pressurisation Fan Systems |  | 2 |  |  |  | 2 | High
HVAC ¦ Heat Emitters - Central ¦ LTHW Overdoor Air Curtain/Heater |  | 2 | 2 | 1 |  | 5 | High
HVAC ¦ Heat Emitters - Central ¦ Radiators ¦ Aluminium |  |  | 31 | 2 |  | 33 | Medium
HVAC ¦ Heat Emitters - Central ¦ Radiators ¦ Steel |  | 11 | 295 | 87 | 16 | 409 | Medium
HVAC ¦ Heat Emitters - Central ¦ Unit Heaters |  | 2 | 31 | 22 | 1 | 56 | Medium
HVAC ¦ Heat Emitters - Local ¦ Electric Heaters | 2 | 25 | 639 | 209 | 21 | 896 | Medium
HVAC ¦ Heat Emitters - Local ¦ Electric Overdoor Air Curtain/Heater |  | 13 | 92 | 74 | 24 | 203 | Medium
HVAC ¦ Heat Emitters - Local ¦ Fan Convector - Electric |  |  | 29 | 9 |  | 38 | Medium
HVAC ¦ Heat Emitters - Local ¦ Gas Fired Ceramic Plaque Infra-Red Heaters |  |  | 3 |  |  | 3 | Medium
HVAC ¦ Heat Emitters - Local ¦ Gas Fired Natural and Fan Assisted Heaters | 2 | 58 | 252 | 56 | 7 | 375 | Medium
HVAC ¦ Heat Emitters - Local ¦ Gas Fired Radiant Heaters | 3 | 2 | 13 | 2 | 1 | 21 | Medium
HVAC ¦ Heat Emitters - Local ¦ Gas Fired Unit Heaters | 5 | 95 | 224 | 53 | 4 | 381 | Medium
HVAC ¦ Heat Emitters - Local ¦ Gas Radiant Tube Heaters |  | 5 | 10 | 6 | 4 | 25 | Medium
HVAC ¦ Heat Emitters - Local ¦ Oil Fired Natural and Fan Assisted Heaters |  |  |  | 1 |  | 1 | Low
HVAC ¦ Heat Emitters - Local ¦ Oil Fired Unit Heaters |  |  | 3 |  |  | 3 | Medium
HVAC ¦ Local Air Conditioning ¦ Single-Split Condenser - Split Systems/Heat Pumps - Air-cooled with Direct Expansion Evaporator (DX) | 7 | 89 | 362 | 43 |  | 501 | Medium
HVAC ¦ Local Air Conditioning ¦ Single-Split Evaporator - Split Systems/Heat Pumps - Air-cooled with Direct Expansion Evaporator (DX) |  | 51 | 261 | 41 | 3 | 356 | Medium
HVAC ¦ Local and Special Ventilation ¦ Unit extract fans. |  | 1 | 308 | 47 | 4 | 360 | Medium
HVAC ¦ Pump ¦ Central Heating (Internally Sourced) ¦ Circulating |  | 6 | 3 |  | 4 | 13 | High
HVAC ¦ Pump ¦ Central Heating (Internally Sourced) ¦ Condensate Pumps |  |  | 7 | 3 |  | 10 | Medium
HVAC ¦ Pump ¦ Central Heating (Internally Sourced) ¦ General |  |  |  |  | 5 | 5 | V Low
HVAC ¦ Smoke Extract ¦ Control Panel - smoke ventilation systems. | 11 |  | 3 |  |  | 14 | Urgent
HVAC ¦ Ventilation ¦ Air Handling Unit (AHU) ¦ External ¦ Central Air Conditioning ¦ DX Cooling |  | 1 |  |  |  | 1 | High
HVAC ¦ Ventilation ¦ Air Handling Unit (AHU) ¦ External ¦ Central Air Conditioning ¦ Electric & DX | 1 |  | 2 |  |  | 3 | Medium
HVAC ¦ Ventilation ¦ Air Handling Unit (AHU) ¦ External ¦ Central Air Conditioning ¦ Gas Fired |  |  | 5 | 1 |  | 6 | Medium
HVAC ¦ Ventilation ¦ Air Handling Unit (AHU) ¦ External ¦ Central Cooling ¦ CHW Cooling |  |  | 1 |  |  | 1 | Medium
HVAC ¦ Ventilation ¦ Air Handling Unit (AHU) ¦ External ¦ Central Heating & Cooling ¦ Electric & DX |  | 2 | 4 |  |  | 6 | Medium
HVAC ¦ Ventilation ¦ Air Handling Unit (AHU) ¦ External ¦ Central Heating (Externally Sourced) ¦ Gas Fired |  |  | 6 |  |  | 6 | Medium
HVAC ¦ Ventilation ¦ Air Handling Unit (AHU) ¦ Internal ¦ Central Air Conditioning ¦ DX Cooling |  | 3 | 3 |  |  | 6 | High
HVAC ¦ Ventilation ¦ Air Handling Unit (AHU) ¦ Internal ¦ Central Air Conditioning ¦ Electric & DX |  | 10 | 3 | 1 |  | 14 | High
HVAC ¦ Ventilation ¦ Air Handling Unit (AHU) ¦ Internal ¦ Central Air Conditioning ¦ Electric Heating |  | 2 |  |  |  | 2 | High
HVAC ¦ Ventilation ¦ Air Handling Unit (AHU) ¦ Internal ¦ Central Air Conditioning ¦ Gas Fired | 2 | 26 | 37 |  |  | 65 | Medium
HVAC ¦ Ventilation ¦ Air Handling Unit (AHU) ¦ Internal ¦ Central Cooling ¦ CHW Cooling |  |  | 1 |  |  | 1 | Medium
HVAC ¦ Ventilation ¦ Air Handling Unit (AHU) ¦ Internal ¦ Central Heating & Cooling ¦ Electric & CHW |  |  | 1 |  |  | 1 | Medium
HVAC ¦ Ventilation ¦ Air Handling Unit (AHU) ¦ Internal ¦ Central Heating & Cooling ¦ Electric & DX |  | 12 | 20 | 20 |  | 52 | Medium
HVAC ¦ Ventilation ¦ Air Handling Unit (AHU) ¦ Internal ¦ Central Heating & Cooling ¦ LTHW & CHW |  | 1 |  |  | 1 | 2 | High
HVAC ¦ Ventilation ¦ Air Handling Unit (AHU) ¦ Internal ¦ Central Heating & Cooling ¦ LTHW & DX |  | 2 |  |  |  | 2 | High
HVAC ¦ Ventilation ¦ Air Handling Unit (AHU) ¦ Internal ¦ Central Heating (Externally Sourced) ¦ Gas Fired |  | 1 | 4 | 1 |  | 6 | Medium
HVAC ¦ Ventilation ¦ Air Handling Unit (AHU) ¦ Internal ¦ Central Heating (Internally Sourced) ¦ Electric Heating |  | 1 | 13 | 2 |  | 16 | Medium
HVAC ¦ Ventilation ¦ Air Handling Unit (AHU) ¦ Internal ¦ Central Heating (Internally Sourced) ¦ Gas Fired | 1 | 3 | 24 | 3 |  | 31 | Medium
HVAC ¦ Ventilation ¦ Air Handling Unit (AHU) ¦ Internal ¦ Central Ventilation Systems ¦ Ventilation Only |  |  | 15 | 2 |  | 17 | Medium
Lightning Protection ¦ System | 3 | 9 | 2 |  |  | 14 | High
Sanitary ¦ Cleaners Sinks ¦ Vitreous china/fireclay/uPVC |  |  |  | 1 |  | 1 | Low
Sanitary ¦ Hand Dryers ¦ Standard |  |  | 1 |  |  | 1 | Medium
Sanitary ¦ Shower ¦ Pumps ¦ Showers Booster Pumps |  |  | 4 |  |  | 4 | Medium
Sanitary ¦ Sinks / basins ¦ Vitreous china/fireclay/uPVC |  |  | 2 |  |  | 2 | Medium
Sanitary ¦ WC Toilet Disabled / All Types ¦ Vitreous china/fireclay/uPVC |  |  | 2 |  |  | 2 | Medium
Sanitary ¦ WC Toilet Standard / All Types ¦ Vitreous china/fireclay/uPVC |  |  | 2 |  |  | 2 | Medium
Security ¦ Access ¦ Access Control ¦ Coded Entry (Internal) |  |  | 1 |  |  | 1 | Medium
Security ¦ Access ¦ Access Control ¦ Door ¦ Local Lock / Keypad / Manual | 7 | 87 | 104 | 64 |  | 262 | Medium
Security ¦ Access ¦ Access Control ¦ Gate Access - Local Lock / Keypad / Manual (External) | 51 | 71 | 110 | 7 |  | 239 | Medium
Security ¦ Barriers and Guardrails ¦ Automatic Vehicle Raising Bollard |  | 1 |  |  |  | 1 | High
Security ¦ Barriers and Guardrails ¦ Manual Vehicle Barrier | 3 | 3 | 13 |  |  | 19 | Medium
Security ¦ Barriers and Guardrails ¦ Security Controlled Barrier |  | 1 | 1 |  |  | 2 | High
Security ¦ Security Systems ¦ CCTV ¦ Digital Recorder |  | 1 |  |  |  | 1 | High
Security ¦ Security Systems ¦ CCTV ¦ External ¦ Camera ¦ Fixed Dome |  | 1 |  |  |  | 1 | High
Security ¦ Security Systems ¦ CCTV ¦ Internal ¦ Camera ¦ Bullet |  | 2 |  |  |  | 2 | High
Security ¦ Security Systems ¦ CCTV ¦ Internal ¦ Camera ¦ Fixed Dome | 1 |  | 1 |  |  | 2 | Urgent
Security ¦ Security Systems ¦ CCTV ¦ Internal ¦ Camera ¦ PTZ Dome |  | 1 |  |  |  | 1 | High
Security ¦ Security Systems ¦ CCTV ¦ Monitors |  | 1 |  |  |  | 1 | High
Security ¦ Security Systems ¦ Intruder Systems ¦ Intruder Alarms | 1 | 1 |  |  |  | 2 | Urgent
Security ¦ Security Systems ¦ Personal Protection ¦ Personal Attack Alarm System | 1 | 1 |  |  |  | 2 | Urgent
Special Installations ¦ Specialist Piped Systems ¦ Air Compressors ¦ Air Compressors |  |  | 2 |  |  | 2 | Medium
Transport ¦ Dock and scissor lifts ¦ Dock Levellers |  |  | 1 |  |  | 1 | Medium
Transport ¦ Lifts ¦ Disabled Lift ¦ Electric | 12 | 42 | 18 |  |  | 72 | High
Transport ¦ Lifts ¦ Disabled Lift ¦ Hydraulic | 1 | 11 | 3 | 4 | 1 | 20 | High
Transport ¦ Lifts ¦ Document Lift - Complete Installation ¦ Electric |  | 1 |  |  |  | 1 | High
Transport ¦ Lifts ¦ Document Lift - Complete Installation ¦ Traction |  |  | 1 |  |  | 1 | Medium
Transport ¦ Lifts ¦ Document Lift ¦ Electric |  |  | 1 |  |  | 1 | Medium
Transport ¦ Lifts ¦ Goods Lift electric ¦ Electric |  | 1 | 3 |  |  | 4 | Medium
Transport ¦ Lifts ¦ Passenger Lift electric ¦ Electric | 1 | 19 | 29 | 11 |  | 60 | Medium
Transport ¦ Lifts ¦ Passenger Lift Hydraulic ¦ Hydraulic |  |  | 3 |  | 1 | 4 | Medium
Transport ¦ Lifts ¦ Passenger Lift Traction ¦ Traction |  |  | 1 |  |  | 1 | Medium
Transport ¦ Lifts ¦ Scissor Lift | 1 | 3 | 9 |  |  | 13 | Medium
Transport ¦ Lifts ¦ Wheel Chair Lift |  | 1 |  |  |  | 1 | High
Water ¦ Central Cold Water Distribution ¦ Pressurisation Unit |  |  | 1 |  |  | 1 | Medium
Water ¦ Central Hot Water Distribution ¦ Calorifier-LTHW ¦ Copper |  | 4 | 3 |  |  | 7 | High
Water ¦ Central Hot Water Distribution ¦ Calorifier-LTHW ¦ Steel, Galvanised |  | 1 |  |  |  | 1 | High
Water ¦ Central Hot Water Distribution ¦ Direct fired Water Heaters |  | 1 | 1 | 2 | 1 | 5 | Low
Water ¦ Central Hot Water Distribution ¦ Expansion Vessels ¦ Closed (with membrane) |  | 1 | 1 |  |  | 2 | High
Water ¦ Central Hot Water Distribution ¦ Hot water cylinders |  | 23 | 19 | 2 |  | 44 | High
Water ¦ Central Hot Water Distribution ¦ Hot water cylinders Domestic Type |  | 4 | 5 | 8 |  | 17 | Low
Water ¦ Central Hot Water Distribution ¦ Pressurisation Unit |  |  | 1 |  |  | 1 | Medium
Water ¦ Central Hot Water Distribution ¦ Pumps ¦ Centrifugal |  |  | 1 |  |  | 1 | Medium
Water ¦ Central Hot Water Distribution ¦ Pumps ¦ Domestic Water Accelerators |  | 1 |  |  |  | 1 | High
Water ¦ Central Hot Water Distribution ¦ Pumps ¦ Secondary Hot Water Circulating |  |  | 1 | 1 |  | 2 | Medium
Water ¦ Cold Water Distribution ¦ Water Pumping Pressure Boosting Set |  |  | 1 |  |  | 1 | Medium
Water ¦ Hot Water Distribution ¦ Tank ¦ Break Tank and Pump (Fluid Category 5 Backflow Protection) | 2 |  | 2 |  |  | 4 | Urgent
Water ¦ Local Hot Water ¦ Electric Water Heater - Drinking Water ¦ Instantaneous Potable Combination Hot, Chilled and Carbonated Water Tap (Fluorinated Gas) |  |  | 1 | 3 |  | 4 | Low
Water ¦ Local Hot Water ¦ Electric Water Heater - Drinking Water ¦ Instantaneous Potable Combination Hot, Chilled and Carbonated Water Tap (Non-Fluorinated Gas) |  |  |  | 2 |  | 2 | Low
Water ¦ Local Hot Water ¦ Electric Water Heater - Drinking Water ¦ Non-Pressurised | 1 | 1 | 7 | 1 |  | 10 | Medium
Water ¦ Local Hot Water ¦ Electric Water Heater - Drinking Water ¦ Pressurised |  |  | 2 |  |  | 2 | Medium
Water ¦ Local Hot Water ¦ Instantaneous Electric Water Heater - Non-Drinking Water | 1 | 73 | 359 | 112 | 13 | 558 | Medium
Water ¦ Local Hot Water ¦ Package Electric Water Heaters - Non-Drinking Water | 3 | 142 | 231 | 140 | 1 | 517 | Medium
Water ¦ Mains Water Supply ¦ Water Meters - Utility |  |  |  | 1 |  | 1 | Low
Grand Total | 9500 | 5950 | 12995 | 4001 | 496 | 32942